## Read-me
The data contained in this spreadsheet was obtained from the U.S. Energy Information Administration (EIA) Form EIA-860 and Form EIA-923. Form EIA-860 can be found at http://www.eia.gov/electricity/data/eia860/, and collects generator-level specific information about existing and planned generators and associated environmental equipment at electric power plants with 1 megawatt or greater of combined nameplate capacity. Form EIA-923 can be found at http://www.eia.gov/electricity/data/eia923/, and collects detailed electric power data on electricity generation, fuel consumption, fossil fuel stocks, and receipts at the power plant and prime mover level.

## Boiler
2012 Form EIA-860 Data - Schedule 6, 'Boiler Data'
Utility ID | Utility Name | Plant Code | Plant Name | State | Boiler ID | Boiler Status | Type of Boiler | New Source Review | New Source Review Month | New Source Review Year | New Source Review Permit | Regulation Particulate | Regulation Sulfur | Regulation Nitrogen | Standard Particulate Rate | Standard Sulfur Rate | Standard Nitrgoen Rate | Unit Particualte | Unit Sulfur | Unit Nitrogen | Period Particulate | Period Sulfur | Period Nitrogen | Compliance Year Particulate | Compliance Year Sulfur | Compliance Year Nitrogen | Strategy Particulate 1 | Strategy Particulate 2 | Strategy Particulate 3 | Strategy Sulfur 1 | Strategy Sulfur 2 | Strategy Sulfur 3 | Strategy Nitrogen 1 | Strategy Nitrogen 2 | Strategy Nitrogen 3 | Existing SO2 Strategy Clean Air Act 1 | Existing SO2 Strategy Clean Air Act 2 | Existing SO2 Strategy Clean Air Act 3 | Planned SO2 Strategy Clean Air Act 1 | Planned SO2 Strategy Clean Air Act 2 | Planned SO2 Strategy Clean Air Act 3 | Boiler Manufacturer | Inservice Month | Inservice Year | Retirement Month | Retirement Year | Max Steam Flow (Thousand Pounds per Hour) | Coal Fire Steam Flow (0.1 Tons per Hour) | Petroleum Fire Steam Flow (0.1 Barresl per Hour) | Gas Fire Steam Flow (0.1 Tons per Hour) | Other Fire Steam Flow | Waste Heat Input (Million BTU per Hour) | Primary Fuel 1 | Primary Fuel 2 | Primary Fuel 3 | Primary Fuel 4 | Primary Fuel 5 | Primary Fuel 6 | Primary Fuel 7 | Primary Fuel 8 | Fire Primary Fuel 1 | Fire Primary Fuel 2 | Fire Primary Fuel 3 | Efficiency 100% Load | Efficiency 50% Load | Air Flow 100% Load (Cubic Feet per Minute) | Wet Dry Bottom | Fly Ash Reinjection | Standard Particulate | Standard Sulfur | Standard Nitrogen | Existing NOx Strategy Clean Air Act 1 | Existing NOx Strategy Clean Air Act 2 | Existing NOx Strategy Clean Air Act 3 | Planned NOx Strategy Clean Air Act 1 | Planned NOx Strategy Clean Air Act 2 | Planned NOx Strategy Clean Air Act 3
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | D | N |  |  |  | FD | FD | FD | 0.04 | 0.93 | 0.7 | PB | DP | NP | NV | NV | NV | 1983 | 1983 | 1983 | MS |  |  | MS |  |  | MS |  |  | NC |  |  | NC |  |  | CE | 1 | 1983 |  |  | 6023 | 500 | 0 | 0 | 0 |  | SUB | [7 empty] | TF |  |  | 90% | 90% | 2379146 | W | N |  |  |  | NA |  |  | NA
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | D | N |  |  |  | FD | FD | FD | 0.04 | 0.93 | 0.7 | PB | DP | NP | NV | NV | NV | 1985 | 1985 | 1985 | MS |  |  | MS |  |  | MS |  |  | NC |  |  | NC |  |  | CE | 1 | 1985 |  |  | 6023 | 500 | 0 | 0 | 0 |  | SUB | [7 empty] | TF |  |  | 90% | 90% | 2379146 | W | N |  |  |  | NA |  |  | NA
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | D | N |  |  |  | FD | FD | FD | 0.1 | 1.2 | 0.45 | PB | DP | NP | OH | TH | OT | 1980 | 1980 | 1980 | MS |  |  | MS |  |  | MS |  |  | NC |  |  | NC |  |  | CE | 8 | 1980 |  |  | 6023 | 445 | 0 | 0 | 0 |  | SUB | [7 empty] | TF |  |  | 90% | 90% | 2872984 | D | N |  |  |  | NC |  |  | NC
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | D | N |  |  |  | FD | FD | FD | 0.1 | 1.2 | 0.45 | PB | DP | NP | OH | TH | OT | 1981 | 1981 | 1981 | MS |  |  | MS |  |  | MS |  |  | NC |  |  | NC |  |  | CE | 7 | 1981 |  |  | 6023 | 445 | 0 | 0 | 0 |  | SUB | [7 empty] | TF |  |  | 90% | 90% | 2872984 | D | N |  |  |  | NC |  |  | NC

## Controls
2012 Form EIA-860 Data - Schedule 6, 'Boiler Control Data'
Utility ID | Utility Name | Plant Code | Plant Name | State | Boiler ID | Boiler Status | Type of Boiler | NOx Control Status | Low NOx Process 1 | Low NOx Process 2 | Low NOx Process 3 | Low NOx Manufacturer | Mercury Emission Control | Mercury Emission Activated Carbon Injection | Mercury Emission Baghouse | Mercury Emission Dry Scrubber | Mercury Emission Electrostatic Precipitator | Mercury Emission Flue Gas Desulfurization | Mercury Emission Lime Injecton | Mercury Emission Wet Scrubber | Mercury Emission Baghouse, Shake and Deflate | Mercury Emission Baghouse, Pulse | Mercury Emission Baghouse, Reverse Air | Mercury Emission Electrostatic Precipitator, Cold Side with Flue Gas Conditioning | Mercury Emission Electrostatic Precipitator, Hot Side with Flue Gas Conditioning | Mercury Emission Electrostatic Precipitator, Hot Side without Flue Gas Conditioning | Mercury Emission Electrostatic Precipitator, Cold Side without Flue Gas Conditioning | Mercury Emission Other
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | D | OP | OV |  |  | NA | N
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | D | OP | OV |  |  | NA | N
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | D | OP | OV |  |  | NA | N
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | D | OP | OV |  |  |  | N

## Cooling
2012 Form EIA-860 Data - Schedule 6, 'Cooling System Data'
Utility ID | Utility Name | Plant Code | Plant Name | State | Cooling ID | Cooling Status | Cooling Type 1 | Cooling Type 2 | Cooling Type 3 | Cooling Type 4 | Cooling Water Source | Inservice Month | Inservice Year | Intake Rate at 100% (Cubic Feet per Second) | Chlorine Inservice Month | Chlorine Inservice Year | Pond Inservice Month | Pond Inservice Year | Pond Surface Area (Acres) | Pond Volume (Acre Feet) | Tower Inservice Month | Tower Inservice Year | Tower Type 1 | Tower Type 2 | Tower Water Rate (Cubic Feet per Second) | Power Requirement (MW) | Cost Total (Thousand Dollars) | Cost Ponds (Thousand Dollars) | Cost Towers (Thousand Dollars) | Cost Chlorine Equipment (Thousand Dollars) | Intake Distance Shore (Feet) | Outlet Distance Shore (Feet) | Intake Distance Surface (Feet) | Outlet Distance Surface (Feet) | Percent Dry Cooling | Water Source Code | Water Type Code
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | RN |  |  |  | White River | 1 | 1983 | 22 | 1 | 1983 |  |  |  |  | 1 | 1983 | NW |  | 690 | 7 | 10757 |  | 10269 | 488 | 0 | 0 | 16 | 1 |  | SW | FR
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | RN |  |  |  | White River | 1 | 1985 | 22 | 1 | 1985 |  |  |  |  | 1 | 1985 | NW |  | 690 | 7 | 11572 |  | 11047 | 525 | 0 | 0 | 16 | 1 |  | SW | FR
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | RN |  |  |  | Arkansas River | 8 | 1980 | 45 | [6 empty] | 8 | 1980 | NW |  | 822 | 7 | 9220 |  | 9220 |  | 160 | 0 | 48 | 0 |  | SW | FR
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | RN |  |  |  | Arkansas River | 7 | 1981 | 45 | [6 empty] | 7 | 1981 | NW |  | 822 | 7 | 9220 |  | 9220 |  | 160 | 0 | 48 | 0 |  | SW | FR

## FGP
2012 Form EIA-860 Data - Schedule 6, 'FGP Data'
Utility ID | Utility Name | Plant Code | Plant Name | State | FGP ID | Inservice Month | Inservice Year | FGP Status | Collector Type 1 | Collector Type 2 | Collector Type 3 | Installed Cost (Thousand Dollars) | Fuel Specification Ash Coal (Low) | Fuel Specification Ash Coal (High) | Fuel Specification Ash Petroleum (Low) | Fuel Specification Ash Petroleum (High) | Fuel Specification Sulfur Coal (Low) | Fuel Specification Sulfur Coal (High) | Fuel Specification Sulfur Petroleum (Low) | Fuel Specification Sulfur Petroleum (High) | Collection Efficiency | Emission Rate (Pounds per Hour) | Gas Exit Rate (Cubic Feet per Minute) | Gas Exit Temperature (Fahrenheit)
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | 8 | 1980 | OP | EK |  |  | 29732 | 10% |  |  |  | 0% |  |  |  | 100% | 381 | 4675000 | 330
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | 7 | 1981 | OP | EK |  |  | 29732 | 10% |  |  |  | 0% |  |  |  | 100% | 381 | 4675000 | 330
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | 1 | 1983 | OP | EK |  |  | 29732 | 10% |  |  |  | 0% |  |  |  | 100% | 420 | 2786667 | 350
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | 1 | 1985 | OP | EK |  |  | 33080 | 10% |  |  |  | 0% |  |  |  | 100% | 420 | 2786667 | 350

## Stack Flue
2012 Form EIA-860 Data - Schedule 6, 'Stack & Flue Data'
Utility ID | Utility Name | Plant Code | Plant Name | State | Flue ID | Stack ID | Inservice Month | Inservice Year | Stack Flue Status | Flue Height (Feet) | Area at Top (Square Feet) | Exit Rate 100% (Cubic Feet per Minute) | Exit Rate 50% (Cubic Feet per Minute) | Exit Temperature 100% (Fahrenheit) | Exit Temperature 50% (Fahrenheit) | Exit Velocity 100% (Feet per Second) | Exit Velocity 100% (Feet per Second) | Exit Temperature Summer (Fahrenheit) | Exit Temperature Winter (Fahrenheit) | Exit Temperature Source
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | 1 | 1 | 1983 | OP | 1000 | 552 | 3520000 | 1760000 | 321 | 250 | 114 | 57 | 276 | 236 | M
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | 1 | 1 | 1985 | OP | 1000 | 552 | 3520000 | 1760000 | 321 | 250 | 114 | 57 | 287 | 260 | M
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | 1 | 8 | 1980 | OP | 1000 | 519 | 2872984 | 1542339 | 262 | 236 | 90 | 45 | 261 | 220 | m
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | 1 | 7 | 1981 | OP | 1000 | 519 | 2872984 | 1542339 | 262 | 236 | 90 | 45 | 238 | 243 | m

## Generator Data
2012 Form EIA-860 Data - Schedule 3, 'Generator Data' (Operable Units Only)
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Prime Mover | Status | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Unit Code | Operating Month | Operating Year | Energy Source 1 | Energy Source 2 | Energy Source 3 | Energy Source 4 | Energy Source 5 | Energy Source 6 | Multiple Fuels | Deliver Power to Transmission Grid | Synchronized to Transmission Grid | Ownership | Turbines | Cogenerator | Sector Name | Sector | Topping or Bottoming | Duct Burners | Planned Modifications | Planned Uprates Net Summer Capacity | Planned Uprates Net Winter Capacity | Planned Uprate Month | Planned Uprate Year | Planned Derates Net Summer Capacity | Planned Derates Net Winter Capacity | Planned Derates Month | Planned Derates Year | Planned New Prime Mover | Planned Energy Source 1 | Planned Repower Month | Planned Repower Year | Other Modifications | Other Modifications Month | Other Modifications Year | Planned Retirement Month | Planned Retirement Year | Solid Fuel Gasification System | Pulverized Coal Technology | Fluidized Bed Technology | Subcritical Technology | Supercritical Technology | Ultrasupercritical Technology | Carbon Capture Technology | Startup Source 1 | Startup Source 2 | Startup Source 3 | Startup Source 4
814 | Entergy Arkansas Inc | 6641 | Independence | AR | Independence | 1 | ST | OP | 900 | 836 | 836 |  | 1 | 1983 | SUB | [5 empty] | N | Y |  | J |  | N | Electric Utility | 1 |  | N | N | [17 empty] | N | Y | [5 empty] | DFO
814 | Entergy Arkansas Inc | 6641 | Independence | AR | Independence | 2 | ST | OP | 900 | 842 | 842 |  | 12 | 1984 | SUB | [5 empty] | N | Y |  | J |  | N | Electric Utility | 1 |  | N | N | [17 empty] | N | Y | [5 empty] | DFO
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | Jefferson | 1 | ST | OP | 900 | 815 | 815 |  | 8 | 1980 | SUB | [5 empty] | N | Y |  | J |  | N | Electric Utility | 1 |  | N | N | [17 empty] | N | Y |  | Y |  |  |  | DFO
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | Jefferson | 2 | ST | OP | 900 | 844 | 844 |  | 8 | 1981 | SUB | [5 empty] | N | Y |  | J |  | N | Electric Utility | 1 |  | N | N | [17 empty] | N | Y |  | Y |  |  |  | DFO

## Ownership2012
2012 Form EIA-860 Data - Schedule 4, 'Generator Ownership' (Jointly or Third-Party Owned Only)
Utility ID | Utility Name | Plant Code | Plant Name | State | Generator ID | Status | Ownership ID | Owner Name | Owner State | Percent Owned
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | 807 | Arkansas Electric Coop Corp | AR | 35%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | 814 | Entergy Arkansas Inc | AR | 32%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | 4280 | Conway Corporation | AR | 2%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | 9879 | City Water and Light Plant | AR | 5%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | 12685 | Entergy Mississippi Inc | MA | 25%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | 14216 | City of Osceola - (AR) | AR | 1%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 1 | OP | 20382 | City of West Memphis - (AR) | AR | 1%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 807 | Arkansas Electric Coop Corp | AR | 35%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 4280 | Conway Corporation | AR | 2%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 9879 | City Water and Light Plant | AR | 15%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 12685 | Entergy Mississippi Inc | MA | 25%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 14216 | City of Osceola - (AR) | AR | 1%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 20382 | City of West Memphis - (AR) | AR | 1%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 25251 | Entergy Power, Inc | AR | 14%
814 | Entergy Arkansas Inc | 6641 | Independence | AR | 2 | OP | 39347 | East Texas Electric Coop, Inc | TX | 7%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | 807 | Arkansas Electric Coop Corp | AR | 35%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | 814 | Entergy Arkansas Inc | AR | 57%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | 4280 | Conway Corporation | AR | 2%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | 9879 | City Water and Light Plant | AR | 5%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 1 | OP | 20382 | City of West Memphis - (AR) | AR | 1%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | 807 | Arkansas Electric Coop Corp | AR | 35%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | 814 | Entergy Arkansas Inc | AR | 57%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | 4280 | Conway Corporation | AR | 2%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | 9879 | City Water and Light Plant | AR | 5%
814 | Entergy Arkansas Inc | 6009 | White Bluff | AR | 2 | OP | 20382 | City of West Memphis - (AR) | AR | 1%

## Plant2012
2012 Form EIA-860 Data - Schedule 2, 'Plant Data'
Utility ID | Plant Code | Plant Name | Street Address | City | County | State | Zip | Name of Water Source | NERC Region | Primary Purpose (NAICS Code) | Transmission or Distribution System Owner | Transmission or Distribution System Owner ID | Transmission or Distribution System Owner State | Regulatory Status | Sector Name | Grid Voltage (kV) | Sector | FERC Cogeneration Status | FERC Cogeneration Docket Number | FERC Small Power Producer Status | FERC Small Power Producer Docket Number | FERC Exempt Wholesale Generator Status | FERC Exempt Wholesale Generator Docket Number | ISO RTO | ISO RTO Code | Latitude | Longitude
814 | 6641 | Independence | 555 Point Ferry Road | Newark | Independence | AR | 72562 | White River | SERC | 22 | Entergy Arkansas Inc | 814 | AR | RE | Electric Utility | 161 | 1 | N |  | N |  | N |  | N |  | 35.6784 | -91.4088
814 | 6009 | White Bluff | 1100 White Bluff Road | Redfield | Jefferson | AR | 72132 | Arkansas River | SERC | 22 | Entergy Arkansas Inc | 814 | AR | RE | Electric Utility | 500 | 1 | N |  | N |  | N |  | N |  | 34.4228 | -92.1406