## northwood_gis
Date | Time | instrument | analyte | reading | detection_flag | detection_limit | units | location_code | latitude | longitude | location_description | comments | additional_comments
04/18/2013 | 19:49 | MultiRAE | VOC |  | < | 0.1 | ppm | 7B | 34.9629 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:49 | MultiRAE | H2S |  | < | 1 | ppm | 7B | 34.9629 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:50 | UltraRAE | Benzene |  | < | 0.05 | ppm | 7B | 34.9629 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:52 | MultiRAE | VOC |  | < | 0.1 | ppm | 7A | 34.9631 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:52 | MultiRAE | H2S |  | < | 1 | ppm | 7A | 34.9631 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:53 | UltraRAE | Benzene |  | < | 0.05 | ppm | 7A | 34.9631 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:54 | MultiRAE | VOC |  | < | 0.1 | ppm | 8B | 34.9632 | -92.4263 | South side of 8 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:54 | MultiRAE | H2S |  | < | 1 | ppm | 8B | 34.9632 | -92.4263 | South side of 8 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:55 | UltraRAE | Benzene |  | < | 0.05 | ppm | 8B | 34.9632 | -92.4263 | South side of 8 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:57 | UltraRAE | Benzene |  | < | 0.05 | ppm | 8A | 34.9632 | -92.4261 | South side of 8 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:56 | MultiRAE | H2S |  | < | 1 | ppm | 8A | 34.9632 | -92.4261 | South side of 8 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 19:56 | MultiRAE | VOC |  | < | 0.1 | ppm | 8A | 34.9632 | -92.4261 | South side of 8 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:01 | MultiRAE | VOC |  | < | 0.1 | ppm | 12A | 34.9634 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:01 | MultiRAE | H2S |  | < | 1 | ppm | 12A | 34.9634 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:02 | UltraRAE | Benzene |  | < | 0.05 | ppm | 12A | 34.9634 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:02 | MultiRAE | VOC |  | < | 0.1 | ppm | 12B | 34.9635 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:03 | MultiRAE | H2S |  | < | 1 | ppm | 12B | 34.9635 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:03 | UltraRAE | Benzene |  | < | 0.05 | ppm | 12B | 34.9635 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:05 | MultiRAE | VOC |  | < | 0.1 | ppm | 16A | 34.9634 | -92.4268 | East side of 16 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:05 | MultiRAE | H2S |  | < | 1 | ppm | 16A | 34.9634 | -92.4268 | East side of 16 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:06 | UltraRAE | Benzene |  | < | 0.05 | ppm | 16A | 34.9634 | -92.4268 | East side of 16 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:06 | MultiRAE | VOC |  | < | 0.1 | ppm | 16B | 34.9635 | -92.4267 | East side of 16 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:07 | MultiRAE | H2S |  | < | 1 | ppm | 16B | 34.9635 | -92.4267 | East side of 16 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:07 | UltraRAE | Benzene |  | < | 0.05 | ppm | 16B | 34.9635 | -92.4267 | East side of 16 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | officer on duty ATRID1923
04/18/2013 | 20:09 | MultiRAE | VOC |  | < | 0.1 | ppm | 20A | 34.9634 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:09 | MultiRAE | H2S |  | < | 1 | ppm | 20A | 34.9634 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:11 | MultiRAE | VOC |  | < | 0.1 | ppm | 20B | 34.9635 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:11 | MultiRAE | H2S |  | < | 1 | ppm | 20B | 34.9635 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:10 | UltraRAE | Benzene |  | < | 0.05 | ppm | 20A | 34.9634 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:12 | MultiRAE | VOC |  | < | 0.1 | ppm | 24B | 34.9634 | -92.4273 | East side of 24 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers visible on site in tyvec suits ATRID1923
04/18/2013 | 20:12 | UltraRAE | Benzene |  | < | 0.05 | ppm | 20B | 34.9635 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:13 | MultiRAE | H2S |  | < | 1 | ppm | 24B | 34.9634 | -92.4273 | East side of 24 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers visible on site in tyvec suits ATRID1923
04/18/2013 | 20:14 | MultiRAE | VOC |  | < | 0.1 | ppm | 24A | 34.9635 | -92.4272 | East side of 24 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:15 | MultiRAE | H2S |  | < | 1 | ppm | 24A | 34.9635 | -92.4272 | East side of 24 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:14 | UltraRAE | Benzene |  | < | 0.05 | ppm | 24B | 34.9634 | -92.4273 | East side of 24 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers visible on site in tyvec suits ATRID1923
04/18/2013 | 20:15 | UltraRAE | Benzene |  | < | 0.05 | ppm | 24A | 34.9635 | -92.4272 | East side of 24 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:17 | MultiRAE | H2S |  | < | 1 | ppm | 24C | 34.9636 | -92.4272 | North side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:18 | UltraRAE | Benzene |  | < | 0.05 | ppm | 24C | 34.9636 | -92.4272 | North side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:19 | MultiRAE | VOC |  | < | 0.1 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; No work activity; Workers present; Down wind; Slight Odor; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. ATRID1923
04/18/2013 | 20:19 | MultiRAE | H2S |  | < | 1 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; No work activity; Workers present; Down wind; Slight Odor; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. ATRID1923
04/18/2013 | 20:20 | UltraRAE | Benzene |  | < | 0.05 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; No work activity; Workers present; Down wind; Slight Odor; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. ATRID1923
04/18/2013 | 20:22 | MultiRAE | VOC |  | < | 0.1 | ppm | 28A | 34.9635 | -92.4275 | East side of 28 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:22 | MultiRAE | H2S |  | < | 1 | ppm | 28A | 34.9635 | -92.4275 | East side of 28 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:23 | UltraRAE | Benzene |  | < | 0.05 | ppm | 28A | 34.9635 | -92.4275 | East side of 28 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:23 | MultiRAE | VOC |  | < | 0.1 | ppm | 32D | 34.9634 | -92.4277 | East side of 32 Starlite Rd | No Visible Oil; Exhaust fumes odor; Residence; No work activity; Workers present; No Airborne Dust Visible; Slight Odor; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. ATRID1923
04/18/2013 | 20:24 | MultiRAE | H2S |  | < | 1 | ppm | 32D | 34.9634 | -92.4277 | East side of 32 Starlite Rd | No Visible Oil; Exhaust fumes odor; Residence; No work activity; Workers present; No Airborne Dust Visible; Slight Odor; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. ATRID1923
04/18/2013 | 20:25 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32D | 34.9634 | -92.4277 | East side of 32 Starlite Rd | No Visible Oil; Exhaust fumes odor; Residence; No work activity; Workers present; No Airborne Dust Visible; Slight Odor; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. ATRID1923
04/18/2013 | 20:25 | MultiRAE | VOC |  | < | 0.1 | ppm | 32C | 34.9635 | -92.4277 | East side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:26 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32C | 34.9635 | -92.4277 | East side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:26 | MultiRAE | H2S |  | < | 1 | ppm | 32C | 34.9635 | -92.4277 | East side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:27 | MultiRAE | VOC |  | < | 0.1 | ppm | 32B | 34.9636 | -92.4277 | North side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:28 | MultiRAE | H2S |  | < | 1 | ppm | 32B | 34.9636 | -92.4277 | North side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:28 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32B | 34.9636 | -92.4277 | North side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:29 | MultiRAE | VOC |  | < | 0.1 | ppm | 32A | 34.9636 | -92.4279 | North side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:30 | MultiRAE | H2S |  | < | 1 | ppm | 32A | 34.9636 | -92.4279 | North side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:30 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32A | 34.9636 | -92.4279 | North side of 32 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:16 | MultiRAE | VOC |  | < | 0.1 | ppm | 24C | 34.9636 | -92.4272 | North side of 20 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:31 | MultiRAE | VOC |  | < | 0.1 | ppm | 36D | 34.9634 | -92.428 | East side of 36 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. downwind of light machine in operation. vactruck hose running adjacent to houses. ATRID1923
04/18/2013 | 20:32 | MultiRAE | H2S |  | < | 1 | ppm | 36D | 34.9634 | -92.428 | East side of 36 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. downwind of light machine in operation. vactruck hose running adjacent to houses. ATRID1923
04/18/2013 | 20:35 | MultiRAE | VOC |  | < | 0.1 | ppm | 36B | 34.9637 | -92.4281 | North side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:36 | MultiRAE | H2S |  | < | 1 | ppm | 36B | 34.9637 | -92.4281 | North side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:34 | MultiRAE | VOC |  | < | 0.1 | ppm | 36C | 34.9635 | -92.428 | East side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | vac hose running to site ATRID1923
04/18/2013 | 20:34 | MultiRAE | H2S |  | < | 1 | ppm | 36C | 34.9635 | -92.428 | East side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | vac hose running to site ATRID1923
04/18/2013 | 20:33 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36D | 34.9634 | -92.428 | East side of 36 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers visible on site in tyvec suits. downwind of vactruck. intermittent odor. downwind of light machine in operation. vactruck hose running adjacent to houses. ATRID1923
04/18/2013 | 20:35 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36C | 34.9635 | -92.428 | East side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | vac hose running to site ATRID1923
04/18/2013 | 20:37 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36B | 34.9637 | -92.4281 | North side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | vac hose running to site from street ATRID1923
04/18/2013 | 20:38 | MultiRAE | VOC |  | < | 0.1 | ppm | 36A | 34.9636 | -92.4281 | North side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers on site in tyvec ATRID1923
04/18/2013 | 20:39 | MultiRAE | H2S |  | < | 1 | ppm | 36A | 34.9636 | -92.4281 | North side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers on site in tyvec ATRID1923
04/18/2013 | 20:40 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36A | 34.9636 | -92.4281 | North side of 36 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers on site in tyvec ATRID1923
04/18/2013 | 20:40 | MultiRAE | VOC |  | < | 0.1 | ppm | 40D | 34.9634 | -92.4282 | East side of 40 Starlite Rd | No Visible Oil; Exhaust fumes odor; Residence; Workers present; Slight Odor; | intermittent odor. workers moving organizing supplies ATRID1923
04/18/2013 | 20:41 | MultiRAE | H2S |  | < | 1 | ppm | 40D | 34.9634 | -92.4282 | East side of 40 Starlite Rd | No Visible Oil; Exhaust fumes odor; Residence; Workers present; Slight Odor; | intermittent odor. workers moving organizing supplies ATRID1923
04/18/2013 | 20:42 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40D | 34.9634 | -92.4282 | East side of 40 Starlite Rd | No Visible Oil; Exhaust fumes odor; Residence; Workers present; Slight Odor; | intermittent odor. workers moving organizing supplies ATRID1923
04/18/2013 | 20:43 | MultiRAE | VOC |  | < | 0.1 | ppm | 40C | 34.9635 | -92.4282 | East side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:43 | MultiRAE | H2S |  | < | 1 | ppm | 40C | 34.9635 | -92.4282 | East side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:44 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40C | 34.9635 | -92.4282 | East side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:45 | MultiRAE | VOC |  | < | 0.1 | ppm | 40B | 34.9635 | -92.4284 | North side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:45 | MultiRAE | H2S |  | < | 1 | ppm | 40B | 34.9635 | -92.4284 | North side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:46 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40B | 34.9635 | -92.4284 | North side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:46 | MultiRAE | VOC |  | < | 0.1 | ppm | 40A | 34.9635 | -92.4285 | North side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:47 | MultiRAE | H2S |  | < | 1 | ppm | 40A | 34.9635 | -92.4285 | North side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:48 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40A | 34.9635 | -92.4285 | North side of 40 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers organizing supplies ATRID1923
04/18/2013 | 20:49 | MultiRAE | VOC |  | < | 0.1 | ppm | 44B | 34.9638 | -92.4285 | West side of 44 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Residence; No work activity; Workers present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:49 | MultiRAE | H2S |  | < | 1 | ppm | 44B | 34.9638 | -92.4285 | West side of 44 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Residence; No work activity; Workers present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:50 | UltraRAE | Benzene |  | < | 0.05 | ppm | 44B | 34.9638 | -92.4285 | West side of 44 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Residence; No work activity; Workers present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:51 | MultiRAE | VOC |  | < | 0.1 | ppm | 44A | 34.9638 | -92.4286 | West side of 44 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers watching site ATRID1923
04/18/2013 | 20:51 | MultiRAE | H2S |  | < | 1 | ppm | 44A | 34.9638 | -92.4286 | West side of 44 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers watching site ATRID1923
04/18/2013 | 20:52 | UltraRAE | Benzene |  | < | 0.05 | ppm | 44A | 34.9638 | -92.4286 | West side of 44 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Crude oil odor; Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; Slight Odor; | workers watching site. vactruck not in operation. intermittent odor. ATRID1923
04/18/2013 | 20:54 | MultiRAE | H2S |  | < | 1 | ppm | 50A | 34.964 | -92.4287 | East side of 50 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers watching site ATRID1923
04/18/2013 | 20:54 | MultiRAE | VOC |  | < | 0.1 | ppm | 50A | 34.964 | -92.4287 | East side of 50 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers watching site ATRID1923
04/18/2013 | 20:55 | UltraRAE | Benzene |  | < | 0.05 | ppm | 50A | 34.964 | -92.4287 | East side of 50 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers watching site ATRID1923
04/18/2013 | 20:55 | MultiRAE | VOC |  | < | 0.1 | ppm | 50B | 34.9641 | -92.4286 | East side of 50 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:56 | MultiRAE | H2S |  | < | 1 | ppm | 50B | 34.9641 | -92.4286 | East side of 50 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 20:57 | UltraRAE | Benzene |  | < | 0.05 | ppm | 50B | 34.9641 | -92.4286 | East side of 50 Starlite Rd | No Visible Oil; Crude oil odor; Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; Slight Odor; | intermittent odor. ground saturated from rain. ATRID1923
04/18/2013 | 20:59 | MultiRAE | VOC |  | < | 0.1 | ppm | 3B | 34.9631 | -92.4286 | West side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 20:59 | MultiRAE | H2S |  | < | 1 | ppm | 3B | 34.9631 | -92.4286 | West side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:00 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3B | 34.9631 | -92.4286 | West side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:01 | MultiRAE | VOC |  | < | 0.1 | ppm | 3A | 34.963 | -92.4287 | West side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:01 | MultiRAE | H2S |  | < | 1 | ppm | 3A | 34.963 | -92.4287 | West side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:03 | MultiRAE | VOC |  | < | 0.1 | ppm | 3C | 34.9629 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:03 | MultiRAE | H2S |  | < | 1 | ppm | 3C | 34.9629 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:02 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3A | 34.963 | -92.4287 | West side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:04 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3C | 34.9629 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:05 | MultiRAE | VOC |  | < | 0.1 | ppm | 3D | 34.9631 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:05 | MultiRAE | H2S |  | < | 1 | ppm | 3D | 34.9631 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:06 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3D | 34.9631 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:07 | MultiRAE | H2S |  | < | 1 | ppm | 31A | 34.9631 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:06 | MultiRAE | VOC |  | < | 0.1 | ppm | 31A | 34.9631 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:08 | MultiRAE | VOC |  | < | 0.1 | ppm | 31B | 34.9629 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:09 | MultiRAE | H2S |  | < | 1 | ppm | 31B | 34.9629 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:10 | UltraRAE | Benzene |  | < | 0.05 | ppm | 31B | 34.9629 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:08 | UltraRAE | Benzene |  | < | 0.05 | ppm | 31A | 34.9631 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:10 | MultiRAE | VOC |  | < | 0.1 | ppm | 27A | 34.9631 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:11 | MultiRAE | H2S |  | < | 1 | ppm | 27A | 34.9631 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:12 | UltraRAE | Benzene |  | < | 0.05 | ppm | 27A | 34.9631 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:13 | MultiRAE | VOC |  | < | 0.1 | ppm | 27B | 34.9629 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:13 | MultiRAE | H2S |  | < | 1 | ppm | 27B | 34.9629 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:14 | UltraRAE | Benzene |  | < | 0.05 | ppm | 27B | 34.9629 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:14 | MultiRAE | VOC |  | < | 0.1 | ppm | 23A | 34.9631 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:16 | UltraRAE | Benzene |  | < | 0.05 | ppm | 23A | 34.9631 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:15 | MultiRAE | H2S |  | < | 1 | ppm | 23A | 34.9631 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:16 | MultiRAE | VOC |  | < | 0.1 | ppm | 23B | 34.9629 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:17 | MultiRAE | H2S |  | < | 1 | ppm | 23B | 34.9629 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:18 | UltraRAE | Benzene |  | < | 0.05 | ppm | 23B | 34.9629 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:18 | MultiRAE | VOC |  | < | 0.1 | ppm | 19A | 34.9631 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:19 | MultiRAE | H2S |  | < | 1 | ppm | 19A | 34.9631 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:20 | UltraRAE | Benzene |  | < | 0.05 | ppm | 19A | 34.9631 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers at watch near tent ATRID1923
04/18/2013 | 21:20 | MultiRAE | VOC |  | < | 0.1 | ppm | 19B | 34.963 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:21 | MultiRAE | H2S |  | < | 1 | ppm | 19B | 34.963 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:22 | UltraRAE | Benzene |  | < | 0.05 | ppm | 19B | 34.963 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:23 | MultiRAE | H2S |  | < | 1 | ppm | 15A | 34.9631 | -92.4272 | East side of 15 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:22 | MultiRAE | VOC |  | < | 0.1 | ppm | 15A | 34.9631 | -92.4272 | East side of 15 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:24 | UltraRAE | Benzene |  | < | 0.05 | ppm | 15A | 34.9631 | -92.4272 | East side of 15 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:24 | MultiRAE | VOC |  | < | 0.1 | ppm | 15B | 34.963 | -92.4272 | East side of 15 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers in cart driving to site ATRID1923
04/18/2013 | 21:25 | MultiRAE | H2S |  | < | 1 | ppm | 15B | 34.963 | -92.4272 | East side of 15 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers in cart driving to site ATRID1923
04/18/2013 | 21:26 | UltraRAE | Benzene |  | < | 0.05 | ppm | 15B | 34.963 | -92.4272 | East side of 15 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers in cart driving to site ATRID1923
04/18/2013 | 21:26 | MultiRAE | VOC |  | < | 0.1 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:27 | MultiRAE | H2S |  | < | 1 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:28 | UltraRAE | Benzene |  | < | 0.05 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers not present; No Airborne Dust Visible; | ATRID1923
04/18/2013 | 21:28 | MultiRAE | VOC |  | < | 0.1 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers transporting bags from site ATRID1923
04/18/2013 | 21:29 | MultiRAE | H2S |  | < | 1 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers transporting bags from site ATRID1923
04/18/2013 | 21:30 | UltraRAE | Benzene |  | < | 0.05 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Residence; No work activity; Workers present; No Airborne Dust Visible; | workers transporting bags from site ATRID1923