## Sheet1
Date | Time | instrument | analyte | reading | detection_flag | detection_limit | units | location_code | latitude | longitude | location_description | comments | additional_comments
04/14/2013 | 08:17 | MultiRAE | VOC |  | < | 0.1 | ppm | 50B | 34.9641 | -92.4286 | East side of 50 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; Area evacuated; Residence; Workers present; Slight Odor; | very slight oil odor pipeline exposed vac truck in driveway ATRID1882
04/14/2013 | 08:19 | MultiRAE | H2S |  | < | 1 | ppm | 50B | 34.9641 | -92.4286 | East side of 50 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; Area evacuated; Residence; Workers present; Slight Odor; | very slight oil odor pipeline exposed ATRID1882
04/14/2013 | 08:19 | UltraRAE | Benzene |  | < | 0.05 | ppm | 50B | 34.9641 | -92.4286 | East side of 50 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; Area evacuated; Residence; Workers present; Slight Odor; | batch 303024 very slight oil odor pipeline exposed vac truck in driveway ATRID1882
04/14/2013 | 08:21 | MultiRAE | VOC |  | < | 0.1 | ppm | 50A | 34.964 | -92.4287 | East side of 50 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; Area evacuated; Residence; Workers present; Slight Odor; | slight oil odor pipeline exposed vac truck in driveway ATRID1882
04/14/2013 | 08:22 | MultiRAE | H2S |  | < | 1 | ppm | 50A | 34.964 | -92.4287 | East side of 50 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; Area evacuated; Residence; Workers present; Slight Odor; | slight oil odor vac truck in driveway pipeline exposed ATRID1882
04/14/2013 | 08:25 | MultiRAE | VOC |  | < | 0.1 | ppm | 44A | 34.9638 | -92.4286 | West side of 44 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; boom present; Area evacuated; Residence; Workers present; Slight Odor; | vac truck in driveway currently not running boom between yards slight oil odor ATRID1882
04/14/2013 | 08:26 | MultiRAE | H2S |  | < | 1 | ppm | 44A | 34.9638 | -92.4286 | West side of 44 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; boom present; Area evacuated; Residence; Workers present; Slight Odor; | slight oil odor vac truck in driveway currently not running boom in hard between homes ATRID1882
04/14/2013 | 08:28 | UltraRAE | Benzene |  | < | 0.05 | ppm | 44A | 34.9638 | -92.4286 | West side of 44 Starlite Rd | No Visible Oil; Vac Trucks Present; Crude oil odor; boom present; Residence; Workers present; Slight Odor; | batch 303024 vac truck in driveway currently not running boom in hard between homes slight oil odor ATRID1882
04/14/2013 | 08:30 | MultiRAE | VOC |  | < | 0.1 | ppm | 44B | 34.9638 | -92.4285 | West side of 44 Starlite Rd | No Visible Oil; Crude oil odor; Residence; Workers present; Slight Odor; | very slight oil odor workers cleaning dirt of bobcat ATRID1882
04/14/2013 | 08:32 | MultiRAE | H2S |  | < | 1 | ppm | 44B | 34.9638 | -92.4285 | West side of 44 Starlite Rd | No Visible Oil; Crude oil odor; Residence; Workers present; Slight Odor; | very slight oil odor workers cleaning off bobcat ATRID1882
04/14/2013 | 08:33 | UltraRAE | Benzene |  | < | 0.05 | ppm | 44B | 34.9638 | -92.4285 | West side of 44 Starlite Rd | No Visible Oil; Crude oil odor; Area evacuated; Residence; Workers present; Slight Odor; | very slight oil odor workers cleaning off bobcat batch 303024 ATRID1882
04/14/2013 | 08:36 | MultiRAE | VOC |  | < | 0.1 | ppm | 40D | 34.9634 | -92.4282 | East side of 40 Starlite Rd | No Visible Oil; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor decon station set up 8n street ATRID1882
04/14/2013 | 08:38 | MultiRAE | H2S |  | < | 1 | ppm | 40D | 34.9634 | -92.4282 | East side of 40 Starlite Rd | No Visible Oil; Crude oil odor; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor decon station set up in street ATRID1882
04/14/2013 | 08:38 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40D | 34.9634 | -92.4282 | East side of 40 Starlite Rd | No Visible Oil; Crude oil odor; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor decon station set up in street batch 303024 ATRID1882
04/14/2013 | 08:41 | MultiRAE | VOC |  | < | 0.1 | ppm | 40C | 34.9635 | -92.4282 | East side of 40 Starlite Rd | Crude oil odor; Visible Oil; Residence; No work activity; Workers not present; Slight Odor; | line of oil visible along house sigh oil odor ATRID1882
04/14/2013 | 08:42 | MultiRAE | H2S |  | < | 1 | ppm | 40C | 34.9635 | -92.4282 | East side of 40 Starlite Rd | Crude oil odor; Visible Oil; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor small line of visible oil along house ATRID1882
04/14/2013 | 08:43 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40C | 34.9635 | -92.4282 | East side of 40 Starlite Rd | Crude oil odor; Visible Oil; Residence; No work activity; Workers not present; Slight Odor; | batch 303024 line of visible oil along house skiing oil odor ATRID1882
04/14/2013 | 08:44 | MultiRAE | VOC |  | < | 0.1 | ppm | 40B | 34.9635 | -92.4284 | North side of 40 Starlite Rd | No Visible Oil; Crude oil odor; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor ATRID1882
04/14/2013 | 08:46 | MultiRAE | H2S |  | < | 1 | ppm | 40B | 34.9635 | -92.4284 | North side of 40 Starlite Rd | No Visible Oil; Crude oil odor; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor ATRID1882
04/14/2013 | 08:46 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40B | 34.9635 | -92.4284 | North side of 40 Starlite Rd | No Visible Oil; Crude oil odor; Residence; No work activity; Workers not present; Slight Odor; | slight oil oder batch 303024 ATRID1882
04/14/2013 | 08:47 | MultiRAE | VOC |  | < | 0.1 | ppm | 40A | 34.9635 | -92.4285 | North side of 40 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 08:48 | MultiRAE | H2S |  | < | 1 | ppm | 40A | 34.9635 | -92.4285 | North side of 40 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 08:49 | UltraRAE | Benzene |  | < | 0.05 | ppm | 40A | 34.9635 | -92.4285 | North side of 40 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 08:50 | MultiRAE | VOC |  | < | 0.1 | ppm | 36A | 34.9636 | -92.4281 | North side of 36 Starlite Rd | No Visible Oil; Exhaust fumes odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight exhaust odors from bobcat a few hours down ATRID1882
04/14/2013 | 08:53 | MultiRAE | H2S |  | < | 1 | ppm | 36A | 34.9636 | -92.4281 | North side of 36 Starlite Rd | No Visible Oil; Exhaust fumes odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | ATRID1882
04/14/2013 | 08:53 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36A | 34.9636 | -92.4281 | North side of 36 Starlite Rd | No Visible Oil; Exhaust fumes odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight exhaust odor from bobcat a house down ATRID1882
04/14/2013 | 08:54 | MultiRAE | VOC |  | < | 0.1 | ppm | 36B | 34.9637 | -92.4281 | North side of 36 Starlite Rd | No Visible Oil; Crude oil odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor area excavated ATRID1882
04/14/2013 | 08:57 | MultiRAE | H2S |  | < | 1 | ppm | 36B | 34.9637 | -92.4281 | North side of 36 Starlite Rd | No Visible Oil; Crude oil odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor ATRID1882
04/14/2013 | 08:57 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36B | 34.9637 | -92.4281 | North side of 36 Starlite Rd | No Visible Oil; Crude oil odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor batch 303024 ATRID1882
04/14/2013 | 08:59 | MultiRAE | H2S |  | < | 1 | ppm | 36C | 34.9635 | -92.428 | East side of 36 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor kind of visible oil along house ATRID1882
04/14/2013 | 08:59 | MultiRAE | VOC |  | < | 0.1 | ppm | 36C | 34.9635 | -92.428 | East side of 36 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor visible oil along home ATRID1882
04/14/2013 | 09:00 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36C | 34.9635 | -92.428 | East side of 36 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | batch 303024 visible oil along home slight oil odor ATRID1882
04/14/2013 | 09:02 | MultiRAE | VOC |  | < | 0.1 | ppm | 36D | 34.9634 | -92.428 | East side of 36 Starlite Rd | No Visible Oil; Crude oil odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor 2 roll offs in street ATRID1882
04/14/2013 | 09:03 | MultiRAE | H2S |  | < | 1 | ppm | 36D | 34.9634 | -92.428 | East side of 36 Starlite Rd | No Visible Oil; Crude oil odor; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor 2 roll offs in street ATRID1882
04/14/2013 | 09:04 | UltraRAE | Benzene |  | < | 0.05 | ppm | 36D | 34.9634 | -92.428 | East side of 36 Starlite Rd | No Visible Oil; Crude oil odor; Area evacuated; Residence; Community Center; Workers not present; Slight Odor; | slight oil odor 2 full offs in street ATRID1882
04/14/2013 | 09:06 | MultiRAE | VOC |  | < | 0.1 | ppm | 32D | 34.9634 | -92.4277 | East side of 32 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; boom present; Area evacuated; Residence; Workers present; Slight Odor; | vac truck in street slight exhaust odor ATRID1882
04/14/2013 | 09:07 | MultiRAE | H2S |  | < | 1 | ppm | 32D | 34.9634 | -92.4277 | East side of 32 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; boom present; Area evacuated; Residence; Workers present; Slight Odor; | slight exhaust odor ATRID1882
04/14/2013 | 09:08 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32D | 34.9634 | -92.4277 | East side of 32 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; boom present; Area evacuated; Residence; Workers present; Slight Odor; | slight exhaust odor vac truck in street ATRID1882
04/14/2013 | 09:09 | MultiRAE | VOC |  | < | 0.1 | ppm | 32C | 34.9635 | -92.4277 | East side of 32 Starlite Rd | Crude oil odor; Visible Oil; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor small line of oil visible on side of house ATRID1882
04/14/2013 | 09:10 | MultiRAE | H2S |  | < | 1 | ppm | 32C | 34.9635 | -92.4277 | East side of 32 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor small line of oil along house ATRID1882
04/14/2013 | 09:11 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32C | 34.9635 | -92.4277 | East side of 32 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | batch 303024 slight oil odor ATRID1882
04/14/2013 | 09:12 | MultiRAE | VOC |  | < | 0.1 | ppm | 32B | 34.9636 | -92.4277 | North side of 32 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | area excavated ATRID1882
04/14/2013 | 09:13 | MultiRAE | H2S |  | < | 1 | ppm | 32B | 34.9636 | -92.4277 | North side of 32 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | area excavated ATRID1882
04/14/2013 | 09:14 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32B | 34.9636 | -92.4277 | North side of 32 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 area excavated ATRID1882
04/14/2013 | 09:16 | MultiRAE | VOC |  | < | 0.1 | ppm | 32A | 34.9636 | -92.4279 | North side of 32 Starlite Rd | No odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | small line of oil along back of house ATRID1882
04/14/2013 | 09:17 | MultiRAE | H2S |  | < | 1 | ppm | 32A | 34.9636 | -92.4279 | North side of 32 Starlite Rd | No odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | small line of oil along back of house ATRID1882
04/14/2013 | 09:17 | UltraRAE | Benzene |  | < | 0.05 | ppm | 32A | 34.9636 | -92.4279 | North side of 32 Starlite Rd | No odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | small line of oil along back side of house ATRID1882
04/14/2013 | 09:19 | MultiRAE | VOC |  | < | 0.1 | ppm | 28A | 34.9635 | -92.4275 | East side of 28 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor small line of oil along home ATRID1882
04/14/2013 | 09:20 | MultiRAE | H2S |  | < | 1 | ppm | 28A | 34.9635 | -92.4275 | East side of 28 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight oil odor small line of oil along home ATRID1882
04/14/2013 | 09:21 | UltraRAE | Benzene |  | < | 0.05 | ppm | 28A | 34.9635 | -92.4275 | East side of 28 Starlite Rd | Crude oil odor; Visible Oil; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | batch 303024 small line of oil along home slight oil odor ATRID1882
04/14/2013 | 09:23 | MultiRAE | VOC |  | < | 0.1 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Area evacuated; Residence; Workers present; Slight Odor; | slight exhaust odor ATRID1882
04/14/2013 | 09:23 | MultiRAE | H2S |  | < | 1 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Area evacuated; Residence; Workers present; Slight Odor; | slight exhaust odor ATRID1882
04/14/2013 | 09:23 | UltraRAE | Benzene |  | < | 0.05 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Area evacuated; Residence; Workers present; Slight Odor; | batch 303024 ATRID1882
04/14/2013 | 09:29 | MultiRAE | VOC |  | < | 0.1 | ppm | 24B | 34.9634 | -92.4273 | East side of 24 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight exhaust odor from vac truck on street ATRID1882
04/14/2013 | 09:30 | MultiRAE | H2S |  | < | 1 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight exhaust odor from vac truck on street ATRID1882
04/14/2013 | 09:31 | UltraRAE | Benzene |  | < | 0.05 | ppm | 28B | 34.9634 | -92.4275 | East side of 28 Starlite Rd | No Visible Oil; Exhaust fumes odor; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; Slight Odor; | slight exhaust odor from vac truck on street ATRID1882
04/14/2013 | 09:32 | MultiRAE | VOC |  | < | 0.1 | ppm | 24A | 34.9635 | -92.4272 | East side of 24 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | trench made between homes ATRID1882
04/14/2013 | 09:33 | MultiRAE | H2S |  | < | 1 | ppm | 24A | 34.9635 | -92.4272 | East side of 24 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | track dug between homes ATRID1882
04/14/2013 | 09:34 | UltraRAE | Benzene |  | < | 0.05 | ppm | 24A | 34.9635 | -92.4272 | East side of 24 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batchv303024 trench between homes ATRID1882
04/14/2013 | 09:35 | MultiRAE | VOC |  | < | 0.1 | ppm | 24C | 34.9636 | -92.4272 | North side of 20 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | area had been excavated ATRID1882
04/14/2013 | 09:36 | MultiRAE | H2S |  | < | 1 | ppm | 24C | 34.9636 | -92.4272 | North side of 20 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | area has been escuvated ATRID1882
04/14/2013 | 09:36 | UltraRAE | Benzene |  | < | 0.05 | ppm | 24C | 34.9636 | -92.4272 | North side of 20 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batcu 303024 area has been escuvated ATRID1882
04/14/2013 | 09:38 | MultiRAE | VOC |  | < | 0.1 | ppm | 20B | 34.9635 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:38 | MultiRAE | H2S |  | < | 1 | ppm | 20B | 34.9635 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:39 | UltraRAE | Benzene |  | < | 0.05 | ppm | 20B | 34.9635 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 09:40 | MultiRAE | VOC |  | < | 0.1 | ppm | 20A | 34.9634 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; | vac Rick on street not running ATRID1882
04/14/2013 | 09:41 | MultiRAE | H2S |  | < | 1 | ppm | 20A | 34.9634 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; | vac truck parked on dtrett ATRID1882
04/14/2013 | 09:41 | UltraRAE | Benzene |  | < | 0.05 | ppm | 20A | 34.9634 | -92.427 | East side of 20 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 vac truck parked in street ATRID1882
04/14/2013 | 09:43 | MultiRAE | VOC |  | < | 0.1 | ppm | 16B | 34.9635 | -92.4267 | East side of 16 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:44 | MultiRAE | H2S |  | < | 1 | ppm | 16B | 34.9635 | -92.4267 | East side of 16 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:44 | UltraRAE | Benzene |  | < | 0.05 | ppm | 16B | 34.9635 | -92.4267 | East side of 16 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:45 | MultiRAE | VOC |  | < | 0.1 | ppm | 16A | 34.9634 | -92.4268 | East side of 16 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; | vac truck parked in street ATRID1882
04/14/2013 | 09:46 | MultiRAE | H2S |  | < | 1 | ppm | 16A | 34.9634 | -92.4268 | East side of 16 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:46 | UltraRAE | Benzene |  | < | 0.05 | ppm | 16A | 34.9634 | -92.4268 | East side of 16 Starlite Rd | No odor; No Visible Oil; Vac Trucks Present; Area evacuated; Residence; No work activity; Workers not present; | vac truck parked in street batch 303024 ATRID1882
04/14/2013 | 09:48 | MultiRAE | VOC |  | < | 0.1 | ppm | 12B | 34.9635 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:48 | MultiRAE | H2S |  | < | 1 | ppm | 12B | 34.9635 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:49 | UltraRAE | Benzene |  | < | 0.05 | ppm | 12B | 34.9635 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:50 | MultiRAE | VOC |  | < | 0.1 | ppm | 12A | 34.9634 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:50 | MultiRAE | H2S |  | < | 1 | ppm | 12A | 34.9634 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:50 | UltraRAE | Benzene |  | < | 0.05 | ppm | 12A | 34.9634 | -92.4265 | East side of 12 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 09:52 | MultiRAE | VOC |  | < | 0.1 | ppm | 8A | 34.9632 | -92.4261 | South side of 8 Starlite Rd | No odor; No Visible Oil; boom present; Area evacuated; Residence; No work activity; Workers not present; | boom around drainage dutch ATRID1882
04/14/2013 | 09:52 | MultiRAE | H2S |  | < | 1 | ppm | 8A | 34.9632 | -92.4261 | South side of 8 Starlite Rd | No odor; No Visible Oil; boom present; Area evacuated; Residence; No work activity; Workers not present; | boom sound drainage ditch ATRID1882
04/14/2013 | 09:53 | UltraRAE | Benzene |  | < | 0.05 | ppm | 8A | 34.9632 | -92.4261 | South side of 8 Starlite Rd | No odor; No Visible Oil; boom present; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 Bob around drainage ditch ATRID1882
04/14/2013 | 09:55 | MultiRAE | VOC |  | < | 0.1 | ppm | 8B | 34.9632 | -92.4263 | South side of 8 Starlite Rd | No odor; No Visible Oil; boom present; Area evacuated; Residence; No work activity; Workers not present; | boom in ditch ATRID1882
04/14/2013 | 09:55 | MultiRAE | H2S |  | < | 1 | ppm | 8B | 34.9632 | -92.4263 | South side of 8 Starlite Rd | No odor; No Visible Oil; boom present; Area evacuated; Residence; No work activity; Workers not present; | boom in drainage ditch ATRID1882
04/14/2013 | 09:56 | UltraRAE | Benzene |  | < | 0.05 | ppm | 8B | 34.9632 | -92.4263 | South side of 8 Starlite Rd | No odor; No Visible Oil; boom present; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 boom in drainage ditch ATRID1882
04/14/2013 | 10:04 | MultiRAE | VOC |  | < | 0.1 | ppm | 7B | 34.9629 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:05 | MultiRAE | H2S |  | < | 1 | ppm | 7B | 34.9629 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:05 | UltraRAE | Benzene |  | < | 0.05 | ppm | 7B | 34.9629 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:06 | MultiRAE | VOC |  | < | 0.1 | ppm | 7A | 34.9631 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:07 | MultiRAE | H2S |  | < | 1 | ppm | 7A | 34.9631 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:07 | UltraRAE | Benzene |  | < | 0.05 | ppm | 7A | 34.9631 | -92.4267 | East side of 7 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 10:08 | MultiRAE | VOC |  | < | 0.1 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:09 | MultiRAE | H2S |  | < | 1 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:09 | UltraRAE | Benzene |  | < | 0.05 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:11 | MultiRAE | VOC |  | < | 0.1 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:11 | MultiRAE | H2S |  | < | 1 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:12 | UltraRAE | Benzene |  | < | 0.05 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:13 | MultiRAE | VOC |  | < | 0.1 | ppm | 15B | 34.963 | -92.4272 | East side of 15 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:13 | MultiRAE | H2S |  | < | 1 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:14 | UltraRAE | Benzene |  | < | 0.05 | ppm | 11B | 34.963 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:15 | MultiRAE | VOC |  | < | 0.1 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:15 | MultiRAE | H2S |  | < | 1 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:15 | UltraRAE | Benzene |  | < | 0.05 | ppm | 11A | 34.9631 | -92.4269 | East side of 11 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 10:17 | MultiRAE | VOC |  | < | 0.1 | ppm | 19B | 34.963 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:18 | UltraRAE | Benzene |  | < | 0.05 | ppm | 19B | 34.963 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 10:17 | MultiRAE | H2S |  | < | 1 | ppm | 19B | 34.963 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:19 | MultiRAE | VOC |  | < | 0.1 | ppm | 19A | 34.9631 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:20 | MultiRAE | H2S |  | < | 1 | ppm | 19A | 34.9631 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:20 | UltraRAE | Benzene |  | < | 0.05 | ppm | 19A | 34.9631 | -92.4274 | East side of 19 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 10:21 | MultiRAE | VOC |  | < | 0.1 | ppm | 23B | 34.9629 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:22 | MultiRAE | H2S |  | < | 1 | ppm | 23B | 34.9629 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:22 | UltraRAE | Benzene |  | < | 0.05 | ppm | 23B | 34.9629 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:23 | MultiRAE | VOC |  | < | 0.1 | ppm | 23A | 34.9631 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:23 | MultiRAE | H2S |  | < | 1 | ppm | 23A | 34.9631 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:23 | UltraRAE | Benzene |  | < | 0.05 | ppm | 23A | 34.9631 | -92.4277 | East side of 23 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:25 | MultiRAE | VOC |  | < | 0.1 | ppm | 27B | 34.9629 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:25 | MultiRAE | H2S |  | < | 1 | ppm | 27B | 34.9629 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:25 | UltraRAE | Benzene |  | < | 0.05 | ppm | 27B | 34.9629 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:27 | MultiRAE | VOC |  | < | 0.1 | ppm | 27A | 34.9631 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | hole dug in yard by road ATRID1882
04/14/2013 | 10:28 | MultiRAE | H2S |  | < | 1 | ppm | 27A | 34.9631 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | hole dug in yard by road ATRID1882
04/14/2013 | 10:29 | UltraRAE | Benzene |  | < | 0.05 | ppm | 27A | 34.9631 | -92.4279 | East side of 27 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 hole dug inbyard by road ATRID1882
04/14/2013 | 10:30 | MultiRAE | VOC |  | < | 0.1 | ppm | 31B | 34.9629 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:30 | MultiRAE | H2S |  | < | 1 | ppm | 31B | 34.9629 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:31 | UltraRAE | Benzene |  | < | 0.05 | ppm | 31B | 34.9629 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 10:33 | MultiRAE | VOC |  | < | 0.1 | ppm | 31A | 34.9631 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:34 | MultiRAE | H2S |  | < | 1 | ppm | 31A | 34.9631 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:35 | UltraRAE | Benzene |  | < | 0.05 | ppm | 31A | 34.9631 | -92.4282 | East side of 31 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 10:36 | MultiRAE | VOC |  | < | 0.1 | ppm | 3D | 34.9631 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; Workers present; | workers plenty in street ATRID1882
04/14/2013 | 10:37 | MultiRAE | H2S |  | < | 1 | ppm | 3D | 34.9631 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; Workers present; | workers present in street ATRID1882
04/14/2013 | 10:38 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3D | 34.9631 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; Workers present; | workers present in street ATRID1882
04/14/2013 | 10:39 | MultiRAE | VOC |  | < | 0.1 | ppm | 3C | 34.9629 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:39 | MultiRAE | H2S |  | < | 1 | ppm | 3C | 34.9629 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:41 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3C | 34.9629 | -92.4284 | East side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882
04/14/2013 | 10:43 | MultiRAE | VOC |  | < | 0.1 | ppm | 3B | 34.9631 | -92.4286 | West side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; Workers present; | soldiers present in street ATRID1882
04/14/2013 | 10:43 | MultiRAE | H2S |  | < | 1 | ppm | 3B | 34.9631 | -92.4286 | West side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; Workers present; | workers present in street ATRID1882
04/14/2013 | 10:44 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3B | 34.9631 | -92.4286 | West side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; Workers present; | workers present in street ATRID1882
04/14/2013 | 10:45 | MultiRAE | VOC |  | < | 0.1 | ppm | 3A | 34.963 | -92.4287 | West side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:46 | MultiRAE | H2S |  | < | 1 | ppm | 3A | 34.963 | -92.4287 | West side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | ATRID1882
04/14/2013 | 10:46 | UltraRAE | Benzene |  | < | 0.05 | ppm | 3A | 34.963 | -92.4287 | West side of 3 Starlite Rd | No odor; No Visible Oil; Area evacuated; Residence; No work activity; Workers not present; | batch 303024 ATRID1882