## Cover
ANALYTICAL RESULTS
| Prepared by: |  |  | Prepared for:
| Eurofins Lancaster Laboratories Environmental |  |  | ExxonMobil c/o Arcadis
| 2425 New Holland Pike |  |  | 630 Plaza Drive, Suite 600
| Lancaster, PA 17601 |  |  | Highlands Ranch CO 80129
September 17, 2013
Project: Mayflower, AR Pipeline Incident
Submittal Date: 09/13/2013
Group Number: 1418629
SDG: PEL46
PO Number: B0086003.1301
State of Sample Origin: AR
Client Sample Description |  | Lancaster Labs # |  | Collected
WS-014(1.5-2.0)091213 Filt Grab Surface Water |  | 7196391 |  | 09/12/2013 08:50
Mayflower, AR
Pipeline Incident
WS-014(5.5-6.0)091213 Filt Grab Surface Water |  | 7196392 |  | 09/12/2013 09:00
Mayflower, AR
Pipeline Incident
WS-012(1.5-2.0)091213 Filt Grab Surface Water |  | 7196393 |  | 09/12/2013 09:10
Mayflower, AR
Pipeline Incident
WS-012(5.0-5.5)091213 Filt Grab Surface Water |  | 7196394 |  | 09/12/2013 09:20
Mayflower, AR
Pipeline Incident
WS-010(1.5-2.0)091213 Filt Grab Surface Water |  | 7196395 |  | 09/12/2013 09:30
Mayflower, AR
Pipeline Incident
WS-010(3.5-4.0)091213 Filt Grab Surface Water |  | 7196396 |  | 09/12/2013 09:40
Mayflower, AR
Pipeline Incident
WS-006(0.5-1.0)091213 Filt Grab Surface Water |  | 7196397 |  | 09/12/2013 09:50
Mayflower, AR
Pipeline Incident
WS-005(Surface)091213 Filt Grab Surface Water |  | 7196398 |  | 09/12/2013 10:20
Mayflower, AR
Pipeline Incident
WS-002(Surface)091213 Filt Grab Surface Water |  | 7196399 |  | 09/12/2013 10:40
Mayflower, AR
Pipeline Incident
WS-011(1.5-2.0)091213 Filt Grab Surface Water |  | 7196400 |  | 09/12/2013 11:00
Mayflower, AR
Pipeline Incident
WS-011(5.0-5.5)091213 Filt Grab Surface Water |  | 7196401 |  | 09/12/2013 11:10
Mayflower, AR
Pipeline Incident
WS-018(Surface)091213 Filt Grab Surface Water |  | 7196402 |  | 09/12/2013 11:40
Mayflower, AR
Pipeline Incident
WS-003(Surface)091213 Filt Grab Surface Water |  | 7196403 |  | 09/12/2013 12:00
Mayflower, AR
Pipeline Incident
WS-007(0.5-1.0)091213 Filt Grab Surface Water |  | 7196404 |  | 09/12/2013 12:20
Mayflower, AR
Pipeline Incident
WS-001(0.5-1.0)091213 Filt Grab Surface Water |  | 7196405 |  | 09/12/2013 12:30
Mayflower, AR
Pipeline Incident
WS-EB-59-091213 Filt Grab Water |  | 7196406 |  | 09/12/2013 13:00
Mayflower, AR
Pipeline Incident
DUP-WS-86-091213 Filt Grab Surface Water |  | 7196407 |  | 09/12/2013
Mayflower, AR
Pipeline Incident
METHODOLOGY
The specified methodologies used in obtaining the enclosed analytical results are indicated on the
Laboratory Sample Analysis Record.
ELECTRONIC COPY TO | ARCADIS |  | Attn: Stephen Barrick
ELECTRONIC COPY TO | ARCADIS |  | Attn: Lyndi Mott
ELECTRONIC COPY TO | ExxonMobil |  | Attn: Michael J. Firth
ELECTRONIC COPY TO | ARCADIS |  | Attn: Emily Leamer
ELECTRONIC COPY TO | ARCADIS |  | Attn: Rhiannon Parmalee
ELECTRONIC COPY TO | ARCADIS |  | Attn: Jamie Pritchard
ELECTRONIC COPY TO | ExxonMobil |  | Attn: Michael L Sixsmith
ELECTRONIC COPY TO | ExxonMobil |  | Attn: Julie Foster
Respectfully Submitted,
(717) 556-7256

## Analysis
| ExxonMobil c/o Arcadis |  |  |  | Report Date: 9/17/2013 12:15
| Project: Mayflower, AR Pipeline Incident |  |  |  | Submit Date: 9/13/2013 9:20
SDG: PEL46
|  | 7196391 |  |  | 7196392
Analysis Name | Units | WS-014(1.5-2.0)091213 |  |  | WS-014(5.5-6.0)091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | N.D. | 0.0068 | 0.0200 | 0.0103 J | 0.0068 | 0.0200
Barium | mg/l | 0.0093 | 0.00033 | 0.0050 | 0.0095 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
|  | 7196393 |  |  | 7196394
Analysis Name | Units | WS-012(1.5-2.0)091213 |  |  | WS-012(5.0-5.5)091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | 0.0079 J | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200
Barium | mg/l | 0.0148 | 0.00033 | 0.0050 | 0.0125 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
|  | 7196395 |  |  | 7196396
Analysis Name | Units | WS-010(1.5-2.0)091213 |  |  | WS-010(3.5-4.0)091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200
Barium | mg/l | 0.0226 | 0.00033 | 0.0050 | 0.0206 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
|  | 7196397 |  |  | 7196398
Analysis Name | Units | WS-006(0.5-1.0)091213 |  |  | WS-005(Surface)091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200
Barium | mg/l | 0.0212 | 0.00033 | 0.0050 | 0.0191 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
|  | 7196399 |  |  | 7196400
Analysis Name | Units | WS-002(Surface)091213 |  |  | WS-011(1.5-2.0)091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200
Barium | mg/l | 0.0143 | 0.00033 | 0.0050 | 0.0125 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
|  | 7196401 |  |  | 7196402
Analysis Name | Units | WS-011(5.0-5.5)091213 |  |  | WS-018(Surface)091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | 0.0079 J | 0.0068 | 0.0200 | 0.0074 J | 0.0068 | 0.0200
Barium | mg/l | 0.0146 | 0.00033 | 0.0050 | 0.0376 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
|  | 7196403 |  |  | 7196404
Analysis Name | Units | WS-003(Surface)091213 |  |  | WS-007(0.5-1.0)091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200
Barium | mg/l | 0.0082 | 0.00033 | 0.0050 | 0.0214 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
|  | 7196405 |  |  | 7196406
Analysis Name | Units | WS-001(0.5-1.0)091213 |  |  | WS-EB-59-091213
|  | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200
Barium | mg/l | 0.0160 | 0.00033 | 0.0050 | 0.0022 J | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020
7196407
Analysis Name | Units | DUP-WS-86-091213
|  | Result | MDL** | LOQ
Arsenic | mg/l | N.D. | 0.0068 | 0.0200
Barium | mg/l | 0.0246 | 0.00033 | 0.0050
Cadmium | mg/l | N.D. | 0.00076 | 0.0050
Chromium | mg/l | N.D. | 0.0016 | 0.0150
Lead | mg/l | N.D. | 0.0047 | 0.0150
Nickel | mg/l | N.D. | 0.0015 | 0.0100
Selenium | mg/l | N.D. | 0.0084 | 0.0200
Silver | mg/l | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | N.D. | 0.0020 | 0.0050
Mercury | mg/l | N.D. | 0.000060 | 0.00020

## Sample Record
CAT |  |  | Trial |  | Analysis
No. | Analysis Name | Method | ID | Batch | Date/Time | Analyst | Dilution
7196391 | WS-014(1.5-2.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1744 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0510 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196392 | WS-014(5.5-6.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1748 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0512 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196393 | WS-012(1.5-2.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1759 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0514 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196394 | WS-012(5.0-5.5)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1803 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0517 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196395 | WS-010(1.5-2.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1807 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0519 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196396 | WS-010(3.5-4.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1811 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0521 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196397 | WS-006(0.5-1.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1720 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0523 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196398 | WS-005(Surface)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1815 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0525 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196399 | WS-002(Surface)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1819 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0527 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196400 | WS-011(1.5-2.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1823 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0533 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196401 | WS-011(5.0-5.5)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1827 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0535 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196402 | WS-018(Surface)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1831 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0537 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196403 | WS-003(Surface)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1835 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0539 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196404 | WS-007(0.5-1.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1847 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0547 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196405 | WS-001(0.5-1.0)091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1851 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0549 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196406 | WS-EB-59-091213 Filt Grab Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1855 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0551 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1
7196407 | DUP-WS-86-091213 Filt Grab Surface Water
07035 | Arsenic | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07046 | Barium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07049 | Cadmium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07051 | Chromium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07055 | Lead | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07061 | Nickel | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07036 | Selenium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07066 | Silver | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
07071 | Vanadium | SW-846 6010B | 1 | 132581848004 | 9/16/13 1859 | John P Hook | 1
00259 | Mercury | SW-846 7470A | 1 | 132585713001 | 9/17/13 0557 | Damary Valentin | 1
01848 | WW SW846 ICP Digest (tot rec) | SW-846 3005A | 1 | 132581848004 | 9/16/13 1023 | James L Mertz | 1
05713 | WW SW846 Hg Digest | SW-846 7470A | 1 | 132585713001 | 9/16/13 1620 | Nelli S Markaryan | 1

## QC Summary
Client Name: ExxonMobil c/o Arcadis |  |  |  |  | Group Number: 1418629
Laboratory Compliance Quality Control
| Blank | Blank | Blank | Report | LCS | LCSD | LCS/LCSD
Analysis Name | Result | MDL** | LOQ | Units | %REC | %REC | Limits | RPD | Max RPD
Batch number: 132581848004 |  | Sample number(s): 7196391-7196407
Arsenic | N.D. | 0.0068 | 0.0200 | mg/l | 102 |  | 90-113
Barium | N.D. | 0.00033 | 0.0050 | mg/l | 101 |  | 90-110
Cadmium | N.D. | 0.00076 | 0.0050 | mg/l | 102 |  | 90-112
Chromium | N.D. | 0.0016 | 0.0150 | mg/l | 100 |  | 90-110
Lead | N.D. | 0.0047 | 0.0150 | mg/l | 101 |  | 88-110
Nickel | N.D. | 0.0015 | 0.0100 | mg/l | 103 |  | 90-111
Selenium | N.D. | 0.0084 | 0.0200 | mg/l | 101 |  | 80-120
Silver | N.D. | 0.0021 | 0.0050 | mg/l | 91 |  | 80-120
Vanadium | N.D. | 0.0020 | 0.0050 | mg/l | 100 |  | 90-110
Batch number: 132585713001 |  | Sample number(s): 7196391-7196407
Mercury | N.D. | 0.000060 | 0.00020 | mg/l | 97 |  | 80-120
Sample Matrix Quality Control
Unspiked (UNSPK) = the sample used in conjunction with the matrix spike Background (BKG) = the sample used in conjunction with the duplicate
| MS | MSD | MS/MSD |  | RPD | BKG | DUP | DUP | DUP RPD
Analysis Name | %REC | %REC | Limits | RPD | MAX | Conc | Conc | RPD | Max
Batch number: 132581848004 |  | Sample number(s): 7196391-7196407 UNSPK: 7196397 BKG: 7196397
Arsenic | 104 | 103 | 81-123 | 2 | 20 | N.D. | N.D. | 0 (1) | 20
Barium | 102 | 102 | 78-118 | 0 | 20 | 0.0212 | 0.0213 | 0 (1) | 20
Cadmium | 103 | 101 | 83-116 | 2 | 20 | N.D. | N.D. | 0 (1) | 20
Chromium | 101 | 100 | 81-120 | 1 | 20 | N.D. | N.D. | 0 (1) | 20
Lead | 101 | 100 | 75-125 | 1 | 20 | N.D. | N.D. | 0 (1) | 20
Nickel | 104 | 103 | 86-115 | 1 | 20 | N.D. | N.D. | 0 (1) | 20
Selenium | 102 | 99 | 75-125 | 3 | 20 | N.D. | N.D. | 0 (1) | 20
Silver | 93 | 92 | 75-125 | 1 | 20 | N.D. | N.D. | 0 (1) | 20
Vanadium | 102 | 101 | 90-111 | 1 | 20 | N.D. | N.D. | 0 (1) | 20
Batch number: 132585713001 |  | Sample number(s): 7196391-7196407 UNSPK: 7196403 BKG: 7196403
Mercury | 96 | 96 | 80-120 | 0 | 20 | N.D. | N.D. | 0 (1) | 20

## Comments
QC Comment
Matrix QC may not be reported if insufficient sample or site-specific QC samples were not submitted. In these situations, to demonstrate precision and accuracy at a batch level, a LCS/LCSD was performed, unless otherwise specified in the method. All Inorganic Initial Calibration and Continuing Calibration Blanks met acceptable method criteria unless otherwise noted on the Analysis Report.
All QC is compliant unless otherwise noted. Please refer to the Quality Control Summary for overall QC performance data and associated samples.
7196391 | WS-014(1.5-2.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196392 | WS-014(5.5-6.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196393 | WS-012(1.5-2.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196394 | WS-012(5.0-5.5)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196395 | WS-010(1.5-2.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196396 | WS-010(3.5-4.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196397 | WS-006(0.5-1.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196398 | WS-005(Surface)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196399 | WS-002(Surface)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196400 | WS-011(1.5-2.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196401 | WS-011(5.0-5.5)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196402 | WS-018(Surface)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196403 | WS-003(Surface)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196404 | WS-007(0.5-1.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196405 | WS-001(0.5-1.0)091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.
7196406 | WS-EB-59-091213 Filt Grab Water
This sample was filtered in the lab for dissolved metals.
7196407 | DUP-WS-86-091213 Filt Grab Surface Water
This sample was filtered in the lab for dissolved metals.

## Spreadsheet
Analysis Name | Units | Method | Cas Number | 7196391 |  |  | 7196392 |  |  | 7196393 |  |  | 7196394 |  |  | 7196395 |  |  | 7196396 |  |  | 7196397 |  |  | 7196398 |  |  | 7196399 |  |  | 7196400 |  |  | 7196401 |  |  | 7196402 |  |  | 7196403 |  |  | 7196404 |  |  | 7196405 |  |  | 7196406 |  |  | 7196407
|  |  |  | WS-014(1.5-2.0)091213 |  |  | WS-014(5.5-6.0)091213 |  |  | WS-012(1.5-2.0)091213 |  |  | WS-012(5.0-5.5)091213 |  |  | WS-010(1.5-2.0)091213 |  |  | WS-010(3.5-4.0)091213 |  |  | WS-006(0.5-1.0)091213 |  |  | WS-005(Surface)091213 |  |  | WS-002(Surface)091213 |  |  | WS-011(1.5-2.0)091213 |  |  | WS-011(5.0-5.5)091213 |  |  | WS-018(Surface)091213 |  |  | WS-003(Surface)091213 |  |  | WS-007(0.5-1.0)091213 |  |  | WS-001(0.5-1.0)091213 |  |  | WS-EB-59-091213 |  |  | DUP-WS-86-091213
|  |  |  | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ | Result | MDL** | LOQ
Arsenic | mg/l | SW-846 6010B | 7440-38-2 | N.D. | 0.0068 | 0.0200 | 0.0103 J | 0.0068 | 0.0200 | 0.0079 J | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | 0.0079 J | 0.0068 | 0.0200 | 0.0074 J | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200 | N.D. | 0.0068 | 0.0200
Barium | mg/l | SW-846 6010B | 7440-39-3 | 0.0093 | 0.00033 | 0.0050 | 0.0095 | 0.00033 | 0.0050 | 0.0148 | 0.00033 | 0.0050 | 0.0125 | 0.00033 | 0.0050 | 0.0226 | 0.00033 | 0.0050 | 0.0206 | 0.00033 | 0.0050 | 0.0212 | 0.00033 | 0.0050 | 0.0191 | 0.00033 | 0.0050 | 0.0143 | 0.00033 | 0.0050 | 0.0125 | 0.00033 | 0.0050 | 0.0146 | 0.00033 | 0.0050 | 0.0376 | 0.00033 | 0.0050 | 0.0082 | 0.00033 | 0.0050 | 0.0214 | 0.00033 | 0.0050 | 0.0160 | 0.00033 | 0.0050 | 0.0022 J | 0.00033 | 0.0050 | 0.0246 | 0.00033 | 0.0050
Cadmium | mg/l | SW-846 6010B | 7440-43-9 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050 | N.D. | 0.00076 | 0.0050
Chromium | mg/l | SW-846 6010B | 7440-47-3 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150 | N.D. | 0.0016 | 0.0150
Lead | mg/l | SW-846 6010B | 7439-92-1 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150 | N.D. | 0.0047 | 0.0150
Nickel | mg/l | SW-846 6010B | 7440-02-0 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100 | N.D. | 0.0015 | 0.0100
Selenium | mg/l | SW-846 6010B | 7782-49-2 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200 | N.D. | 0.0084 | 0.0200
Silver | mg/l | SW-846 6010B | 7440-22-4 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050 | N.D. | 0.0021 | 0.0050
Vanadium | mg/l | SW-846 6010B | 7440-62-2 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050 | N.D. | 0.0020 | 0.0050
Mercury | mg/l | SW-846 7470A | 7439-97-6 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020 | N.D. | 0.000060 | 0.00020