ATTAChment 1

General Facility Information

Facility Name:

2. Type of Facility:

3.   Population Served:

| Present: |  | Design: |  |
| --- | --- | --- | --- |

4.  Flow:

|  | Present | Design |
| --- | --- | --- |
| Average |  |  |
| Maximum |  |  |
| Peak |  |  |

5. Water Quality:

Assumed      Actual          Source:

|  | Influent: |  | Effluent: |  |
| --- | --- | --- | --- | --- |
| BOD5 |  | mg/l |  | mg/l |
| TSS |  | mg/l |  | mg/l |
| NH3-N |  | mg/l |  | mg/l |

Basis for Assumptions, if made:

6. 	Is the system above the 100-year flood plain?   Yes     No

7. 	List Treatment System:

- Existing:

| 1. |  |  | 5. |  |
| --- | --- | --- | --- | --- |
| 2. |  |  | 6. |  |
| 3. |  |  | 7. |  |
| 4. |  |  | 8. |  |

- Proposed:

| 1. |  |  | 5. |  |
| --- | --- | --- | --- | --- |
| 2. |  |  | 6. |  |
| 3. |  |  | 7. |  |
| 4. |  |  | 8. |  |

ATTACHMENT 2

FLOW MEASUREMENT, SCREENING AND GRIT REMOVAL

A. Flow Measurement

- Type Metering Device:

- Location:  Influent           Effluent

- Indicating and Recording Mechanism:

B.  Bar Screen

- Area:	Total       ft2	 Effective       ft2.

- Space Between Bars:         inches

- Velocity:        ft/s	4.   Slope of Screen:

5. Is Drainage Platform Provided?   Yes  	No

- Method of Cleaning:  Manual   	Mechanical

- Mechanical Screen:

| Capacity |  | MDG | Type |  |
| --- | --- | --- | --- | --- |

8. 	Auxiliary Bar Screen:      Yes  	     No

C.  Comminutoring Device

Location

- Size:        inches	3.   Capacity:       MGD

- Auxiliary Bar Screen:      Yes  	     No

D.  Grit Chamber

1.   No. of Chambers      	2.   Type

- Cross Section Area:

Each       ft2 	Total       ft2   	Length       ft

Width       ft         Diameter       ft

- Calculated Velocity of Flow        ft/s

- Method of Cleaning:              Manual 	         Mechanical

- Surge prevention: 	Yes 		No

- Method of Velocity Control

- Detention Period:

Present       Seconds  	Design       Seconds

9.	Drain Provided:	Yes 		No

ATTACHMENT 3

ACTIVATED SLUDGE

1.   Process:

Conventional      	     Contact Stabilization            Extended Aeration

Sequence Batch Reactor            Step Aeration            Complete Mix

Other

- Number of Tanks:           3.  Are all tanks same size?  Yes 	No

4. 	Shape of Tank:          5.  Are waterstops provided?     Yes 	No

5.	Inside Dimensions of Each Tank (ft):

Length       Width       Depth       Diameter

6.	Effective Volume of each Tank:      	gallons

- Total Tank Volume:        gallons

- Recirculation Rate:       MGD

- Design Flow (including recirculation):       MGD

- Percentage of Daily Flow of Return Sludge to Tank:

- Detention Time:       minutes

- Aeration Tank Organic Loading:       lb BOD5/day/1000ft3

- F/M Ratio:       lb BOD5/day/ lb MLVSS

- MLSS:       	mg/L   Assumed    or   Actual

- MLVSS/MLSS Ratio:

- Are the inlets and outlets for each aeration tank suitably equipped to permit controlling the flow to any unit and to maintain reasonably constant liquid levels?

Yes 	 No

- Freeboard in Aeration Tanks (minimum 24 inches):        inches

18.	Is the type of aeration system able to provide the necessary oxygen requirements?

Yes 	No

19.	Sludge Return Pumps:

Number Pumps:        Type:        Capacity Each:       gpm

Total Capacity:       gpm   Rated Heads:         ft

Computed Heads:        ft

- Sequence Batch Reactors Only:

Cycle Duration:       minutes   Mixing Duration:        minutes

Low water level:       ft      High water level:       ft

Hydraulic Retention Time:       minutes

ATTACHMENT 4

AERATION SYSTEM

- Required Air:       ft3/lb BOD5/day

- Furnished Air:       ft3/ lb BOD5/day

- Type of System:  	Diffused Air   	Mechanical

- Diffused Air Equipment:

Number Blowers         Capacity of each       ft3/m

Total Capacity of Blowers       ft3/m

Diffusers: 	Plates		Fixed Tubes           Swing Diffusers

Impingement Aerator  	Jet Aerator

- Mechanical Aeration Equipment:

Number Units             Type of Unit

Capacity of Each Unit       hP

Operated Intermittently by Clock Time?   Yes  	No

ATTACHMENT 5

LAGOONS

1.	Type:  Controlled Discharge Facultative Lagoon System

Flow-Through Facultative Lagoon System

Aerated Lagoon System

Combination

2.	Number of Ponds:	          3.   Number of Cells per Pond:

- Ponds in Series or Parallel Operation:

- Pond/Cell Depth (ft):

| Pond Number |  | Maximum |  | Minimum |  | Average |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |

- Freeboard of Each Pond (ft):

Pond 1:          Pond 2:        Pond 3:

- Pond/Cell Width (ft):

| Pond Number |  | Maximum |  | Minimum |  | Average |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |

- Pond/Cell Length (ft):

| Pond Number |  | Maximum |  | Minimum |  | Average |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |

- Volume of Each Pond/Cell (gallons):

| Pond Number |  | At Maximum Depth |  | At Minimum Depth |  | At Average Depth |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |

7.	BOD Loading of Each Pond/Cell (mg/l):

| Pond Number |  | Present |  | Design |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

8. Retention Time at Average Depth (minutes):

| Pond Number |  | Present |  | Design |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

- Liner Material of Each Pond:

Pond 1:          Pond 2:        Pond 3:

- If synthetic liner, how is liner attached?  Is liner vented?

12.	How is the bank protected?

13.	Slope of internal banks:

14.	Outlet

Adjustable:  Yes     No         Height above bottom of Pond:       ft

15.  Is lagoon aerated?   Yes     No

ATTACHMENT 6

RECIRCULATING SAND FILTER

1.  Type of Pretreatment:

2.   Filter Media:

Material         Effective Size       mm

Uniformity Coefficient        Depth       ft

3.   Underdrains:

Type        Slope        Bedding

4.   Hydraulic Loading:       gpd/ft2

5.   Organic Loading:       lb/day/ft2

6.   Recirculation Ratio:

7.   Recirculation Tanks:

Volume       gallons     Number of Tanks

8.   Dosing:

Time On       minutes   Time Off       minutes

Frequency         Volume/orifice       gallons/orifice

ATTACHMENT 7

CLARIFIERS

1.  Type:

2.	Number of Tanks:

3.   Surface Dimensions (ft):

Width        Length        Diameter

4.   Sidewall Depth:       ft

5.   Detention Period (minutes):

At design flow           At peak flow

6.   Overflow Rate (gpd/ft2):

At design flow        At peak flow

7.	Surface Area:        ft2

ATTACHMENT 8

SLUDGE TREATMENT

A.  Sludge Digestion Tanks

1.  Number of Units       	2.   Type

3.   Capacity:              4.   Single or Two Stage:

5.   Type of Cover:              6.   Is Tank Insulated?   Yes    No

7.   Heating (pipe coils):  Diameter of Pipes:       inches

Total Surface Area:       ft2

8.   Heating (heat exchanger):  Capacity of unit

9.   Is there a cross connection between the liquor selector flushing line and the drinking water supply?    Yes     No

10.  Thermometers:  Yes     No          11.  Flame or Drip Traps:

12.  Waste Burner:  Yes     No          13.  Manholes in Cover:   Yes     No

14.  Supernatant Outlets:  Yes    No

15.  Disposal of Supernatant:

16.  Provisions for Recirculation of Sludge?  Yes     No

17.  Provisions for Sampling?  Yes     No

18.  Sludge Removal Lines:  Yes     No

19.  Explosion Proof switches, fixtures:  Yes     No

- Disposal of Wet Sludge:

B.	Sludge Drying Beds

1.   Number Units:          2.   Required Area:       ft2

3.   Area Each Bed:        ft2    4.   Total Area:       ft2

4.   Area per Capita: Present       ft2   Design       ft2

5.   Gravel:

Layer Depths:        ft,       ft      ft

Sizes:       .       ,

6.    Sand:  Depth       ft  Size

7.   Underdrains:   Size         Spaced

8.   Freeboard above Sand:       ft

9.   Slope of Delivery Pipe:

10.  Suitable Splash Plate:  Yes     No

11.  Disposal of Sludge Bed Drainage:

12.  Disposal of Dry Sludge:

ATTHACHMENT 9

DISINFECTION

A.  CHLORINATION

1.	Type of Chlorination:    Tablet 	        Gas

2.   Capacity:       #/24 hr       3.  Location:

4.  Ventilation:  Yes     No

5.   Point of Application in Process:

5.   Contact Chamber:

Design Flow       MGD           Peak Flow       MGD

Volume       gallons

Inside Dimensions (ft)

Length        Width        Depth        Diameter v

Detention Time       minutes     Drain Provided?  Yes     No

6.	 Scum Baffle: Yes     No

7.	Point of Application:

B.  ULTRA VIOLET

1.   Design Flow :        MGD    2.   Peak Flow: v MGD

3.   Number of Channels:        4.   Number of Banks per Channel:

5.   Space between lamps:        inches

6.   UV Radiation Dosage:       mW s/cm2

ATTACHMENT 10

FLOW EQUALIZATION

1.   Use:

2.   Location in process:

3.   Type:

4.   Shape:

5.   Dimensions (ft):

Width       Length       Diameter       Depth

6.   Effective Volume:       gallons

7.   Will excess flow being diverted to the equalization basin undergo preliminary treatment first?   Yes     No

8.   Is aeration or mechanical equipment used for mixing?  Yes     No

ATTACHMENT 11

PRIMARY SEDIMENTATION

A.  Settling Tanks:

1.   Type:          2.   Number of units:

3.   Dimensions: (ft)

Width       Length       Diameter       Depth

Surface Loading:       gpd/ft2

6.   Overflow Rate:      _ gpd/ ft. weir

7.   Design of inlet and outlet baffles:

8.   Design for skimming:

9.   Disposal of scum:

10.  Diameter sludge pipes:        inches

11.  Provision for flushing and draining sludge lines?  Yes      No

  - Other:

Describe the type of primary sedimentation provided in detail.  Provide pertinent design information and details.

ATTACHMENT 12

Trickling Filters

A.	High Rate:

| - Dimensions (ft): |  | First Stage |  | Second Stage |
| --- | --- | --- | --- | --- |
| Width |  |  |  |  |
| Length |  |  |  |  |
| Diameter |  |  |  |  |
| Depth |  |  |  |  |
| 2. Area (ft3): |  |  |  |  |
| 3. Recirculation: |  |  |  |  |
| Ratio |  |  |  |  |
| How Controlled? |  |  |  |  |
| How Measured? |  |  |  |  |
| Where returned? |  |  |  |  |
| - Organic Loading (lb BOD/Ac-ft./day): |  |  |  |  |
| 5. Hydraulic Loading (Mg/Ac/day): |  |  |  |  |
| 6. Type of distributor: |  |  |  |  |
| 7. Dosing Method: |  |  |  |  |
| 8. Minimum Head On Distributor Arms (ft): |  |  |  |  |
| 9. Size Filter Rock (inches): |  |  |  |  |
| 10. Sodium Sulfate Cycle Test |  |  |  |  |
| 11. Provision for ventilation? |  | Yes No |  | Yes No |
| 12. Provision for flooding? |  | Yes No |  | Yes No |
| 13. Filter efficiency, after settling %: |  |  |  |  |

B.	Standard Rate:

- Dimensions (ft):

Width       Length       Diameter       Depth

2.   Area:       ft3

- Organic Loading:       ( lb BOD/Ac-ft./day)

- Hydraulic Loading:       (MGD/Ac)

- Type of distributor:

- Dosing Method:

- Detention Time in Dosing Tank:       minutes

- Is Siphon Capacity Adequate?  Yes          No

- Minimum Head on Distributor Arms:       ft

- Size Filter Rock:       inches

- Sodium Sulfate Cycle Test:

- Provision for Ventilation:   Yes          No

- Provision for flooding: Yes          No

- Provision for Recirculation:  Yes          No